Contractor Incident Report

Jefferson Center City Campus

See Jefferson Incident Contact Information (provided after Part II of this document) for appropriate contacts to be made during a project incident.

Date of Incident:	       	          	  	       Time of Incident:

Contractor:

Contractor PM:

Project Name/Location:

FDC #  			FDC Project Manager:

PART I – Must be completed within 4 hours of the incident

Type of Incident

Domestic Hot/Cold Water		  Medical Gas

Electrical 				  Sanitary

Fire 				  Sprinkler

Fire Alarm				  Steam

Hazardous Materials

Other

Description of Incident:  Include details regarding location, sequence of events, individuals notified, responders, immediate corrective action.  If more space is needed, attach additional sheet.  Also attach photos as needed.

Personnel Involved:  Names of persons and firms involved in the incident or response.

Name					Firm / Subcontractor		Cell Phone

Injuries:  Were any injuries sustained as a result of the incident?

NO

YES 	If yes, provide details including name, type of injury and affiliation of individual(s)

Notification:  Provide names, phone numbers, time and date of notification of the incident.  (For information on notifications, please see Jefferson Incident Contact Information after Part II of this document.)

Name				Phone #		  Time Called

Emergency (if required)				    811

Operations Control Center			    215.955.6846

FDC PM

Other

Other

Other

Other

Additional Comments:

PART I

Prepared by:

Title/Company:

Date/Time:

Reviewed by:

Title:			Project Manager, Jefferson FDC

Date/Time:

Reviewed by:

Title:			Director, Facilities Design & Construction

Date/Time:

PART II – Must be completed within 24 hours of the incident

Resolution of Incident:  Describe remediation and repairs, providing details on 1) how resolution was agreed upon, 2) firm that completed repairs, 3) length of time required to effect repairs / duration of incident.

ATTACH PHOTOGRAPHS OF SITE AFTER REMEDIATION AND REPAIRS

Investigation Results:  Note investigation activities and findings and identify probable cause of the incident.  Attach additional sheets as necessary.

Existing Safety Measures:  Identify work planning and safety measures taken prior to starting work that could have prevented this incident.  Also provide an explanation of why the measures did not preclude the incident.

Corrective Action:  Provide details on how contractor and subcontractor(s) will modify or enhance practice or work methods to ensure that a similar incident will not occur in the future.

PART II

Prepared by:

Title/Company:

Date/Time:

Reviewed by:

Title:			Project Manager, FDC

Date/Time:

Reviewed by:

Title:			Director, Facilities Design & Construction

Date/Time:

Jefferson Incident Contact Information

First Responders

In the event of a fire, security, or medical emergency, call the following number immediately:

Emergency (fire, security, or medical emergencies)	811

For Jefferson response to all construction incidents (utility disruptions, leaks, floods, fire, collapse, or potentially hazardous releases of any sort), call Jefferson’s Operations Control Center immediately.  The Operations Control Center will contact and dispatch appropriate responders.

Operations Control Center	215.955.6846

FDC Notification

As soon as feasible after the incident risks are mitigated and first responders are notified, the contractor must notify Facilities Design and Construction of the incident via the appropriate FDC Project Manager.

Facilities Design and Construction

Main Number				215.503.7715

Director

Kim Dengler						215-439-7506	(cell)

Project Managers:

Beth Anastasia		215.503.9184		267.438.0503 (cell)

Ed Schultz			215.503.8446		215.512.0590 (cell)

Ernesto Betancourt		215-503-4375		215-840-0701 (cell)

Jim Wiesenhutter		215-503-7921		215-268-2301 (cell)

Herb Smith			215-503-5836		215-520-2181 (cell)

Contact Information during Incident and Follow Up

The following departments and persons may have a role in response to an incident.  These departments and persons will generally be contacted as needed by the Operations Control Center as first responders after the initial call is placed by the contractor to the Operations Control Center.  Contact information is provided herein to facilitate possible direct communication during an incident and/or in follow up to an incident.

Environmental Health and Safety

Director

Joe Byham			215.503.5852		215-200-9897 (cell)

Facilities Safety Officer / Fire Marshal

Tony VanDyke		215.503.7153		215.828.2010 (cell)

Environmental Health Officer

Stephen Baker		215.503.7352		215.828.2201 (cell)

Biological Safety Officer

Sue Gotta			215.503.7422		215.828.2102 (cell)

Occupational Health and Safety Officer

Cherry Moragne		215.503.4711		215.828.2265 (cell)

Security

Manager, Security Services

Joe McFadden		215.955.0368

Infection Control

Infection Control Practitioner, Marissa Coulter       215.955.0488	215-603-0124	(cell)

Facilities Services

Director (University), Tom Cresswell	215.503.6802		215.651.2988 (cell)

Director (Hospital), Dan Vallieu	215.503.2401		215.651.2984 (cell)

Hospital Construction and Renovations

Director, Susan Milner		215.955.9345		215.200.1455 (cell)

Custodial Services (University)

Manager, Donald Burton		215.503.8730		215.828.3768 (cell)

Environmental Services (Hospital)

Manager, Teresa Vignola			215-955-3737		215-266-0137 (cell)

Hospital Information Systems

Main Service Number			215.503.7975